## Sign-Off Sheet
Hotel Europejski
,
Switch Function Table Approval
|  | Switch Table: | Design:
|  | Switch Table Date: | Design Date: | 2016-03-09 10:03
Approved:
Date:
APPROVAL OF DESIGN IS REQUIRED PRIOR TO ANY PROGRAMMING OF INNCOM DEVICES. NO REPLY REGARDING APPROVAL DOES NOT CONSTITUTE ACCEPTANCE OR APPROVAL OF DESIGN.
Revision History
Date | Revision | Comments

## MOCKUP
INNCOM Switch Function Table
| Designer: | Maciej Jakubiak | [5 empty] | Design: |  |  | Design Date: | 2017-07-19
| Hotel Europejski |  |  |  |  | Controlled Zones/ Drapes | Controlled Zones/ Drapes | Controlled Zones/ Drapes | Controlled Zones/ Drapes | Controlled Zones/ Drapes | Controlled Zones/ Drapes | Controlled Zones/ Drapes | Controlled Zones/ Drapes | Controlled Zones/ Drapes | Controlled Zones/ Drapes |  | Controlled Zones/ Drapes | Controlled Zones/ Drapes
| TypW_111 |  |  |  |  | 6.1 pasek LED LN1 salon aneks A | 6.2 LED biblioteczka | 7.1 salon główny LED LN1 | 7.2 LED salon główny | 8.1 bar LED wypust | 8.2 bar LED wypust | 9.1 bar LED wypust | 9.2 bar LED wypust | 10.1 pasek LED salon aneks B | 10.2 downlight przedpokój | 11.1 downlight WC | 11.2 pasek LED WC | 12.1 downlight aneks kuchenny | 12.2 pasek LED aneks kuchenny | 24.1 bar LED wypust | 24.2 bar LED wypust | 25.1 bar LED wypust | 25.2 bar LED wypust | 19.2 kinkiet WL3 WC | SPARE | 15.1 żyrandol CL4 salon aneks A | 15.2 kinkiety WL5 salon aneks A | 16.1 lampy stojące TL7, TL10 | 16.2 lampa na stoliku salon aneks A | 17.1 żyrandole salon główny CL5 | 17.2 salon główny lampy podłogowe | 18.1 lampy stojące TL11, TL14 | 18.2 żyrandol CL4 salon aneks B | 19.1 kinkiety WL5 salon aneks A | 19.2 kinkiet WL3 WC | SPARE | SPARE | CHIME | SPARE | SPARE | SPARE | MASTER (Rented & Occ) | SPARE | FAN LOW | FAN MED | FAN HIGH | SPARE | COOL | HEAT (SECONDARY HEATING) | SPARE | SPARE | FAN LOW | FAN MED | FAN HIGH | SPARE | COOL | HEAT (SECONDARY HEATING) | SPARE | SPARE | FAN LOW | FAN MED | FAN HIGH | SPARE | COOL | HEAT (SECONDARY HEATING) | SPARE | SPARE | FLOOR HEATING PUMP | SPARE | SPARE | SPARE | SPARE | PRIMARY HEATING (FLOOR) | SPARE | SPARE
Circuit Control Device | [5 empty] | X10-1 | X10-1 | X10-2 | X10-2 | X10-3 | X10-3 | X10-4 | X10-4 | X10-5 | X10-5 | X10-6 | X10-6 | X10-7 | X10-7 | X10-8 | X10-8 | X10-9 | X10-9 | X10-10 | X10-10 | D254-1 | D254-1 | D254-2 | D254-2 | D254-3 | D254-3 | D254-4 | D254-4 | D254-5 | D254-5 | X05R_1_K1 | X05R_1_K2 | X05R_1_K3 | X05R_1_K4 | X05R_1_K5 | X05R_1_K6 | X05R_1_K7 | X05R_1_K8 | X05R_2_K1 | X05R_2_K2 | X05R_2_K3 | X05R_2_K4 | X05R_2_K5 | X05R_2_K6 | X05R_2_K7 | X05R_2_K8 | X05R_3_K1 | X05R_3_K2 | X05R_3_K3 | X05R_3_K4 | X05R_3_K5 | X05R_3_K6 | X05R_3_K7 | X05R_3_K8 | X05R_4_K1 | X05R_4_K2 | X05R_4_K3 | X05R_4_K4 | X05R_4_K5 | X05R_4_K6 | X05R_4_K7 | X05R_4_K8 | X05R_5_K1 | X05R_5_K2 | X05R_5_K3 | X05R_5_K4 | X05R_5_K5 | X05R_5_K6 | X05R_5_K7 | X05R_5_K8
IO Map | [5 empty] | 123 | 123 | 126 | 126 | 127 | 127 | 128 | 128 | 131 | 131 | 132 | 132 | 133 | 133 | 129 | 129 | 130 | 130 | 134 | 134 | 96 | 96 | 97 | 97 | 98 | 98 | 99 | 99 | 100 | 100 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 119 | 119 | 119 | 119 | 119 | 119 | 119 | 119 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 118 | 118 | 118 | 118 | 118 | 118 | 118 | 118
Device ID | [5 empty] | 101 | 101 | 103 | 103 | 104 | 104 | 105 | 105 | 144 | 144 | 100 | 100 | 98 | 98 | 96 | 96 | 97 | 97 | 99 | 99 | 89 | 89 | 90 | 90 | 91 | 91 | 92 | 92 | 93 | 93 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 119 | 119 | 119 | 119 | 119 | 119 | 119 | 119 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 118 | 118 | 118 | 118 | 118 | 118 | 118 | 118
Logical Circuit 0 | [5 empty] | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 153 | 151 | 151 | 154 | 154 | 152 | 152 | 152 | 152 | 151 | 152 | 112 | 115 | 112 | 115 | 112 | 115 | 112 | 115 | 115 | 151 | [6 empty] | 114
Logical Circuit 1
Logical Circuit 2
Logical Circuit 3
Fixture Drawing Designation
Lamp Type | [5 empty] | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Wattage | [5 empty] | 35 | 88 | 110 | 44 | 44 | 100 | 22 | 22 | 55 | 22 | 22 | 100 | 60 | 100 | 60 | 100 | 60 | 100 | 60 | 100 | 60
Dim Type | [5 empty] | ZeroToTenVolts | ZeroToTenVolts | ZeroToTenVolts | ZeroToTenVolts | ZeroToTenVolts | None | ZeroToTenVolts | ZeroToTenVolts | ZeroToTenVolts | ZeroToTenVolts | ZeroToTenVolts | None | None | None | None | None | None | None | None | None | None
WELCOME FIRST + RESTORE |  |  |  | Set Scene 0 |  | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | [6 empty] | FIDELIO
Switch # | Switch Location | AE Spec | Button | Text | AE Sw Function
ENTRANCE_A |  | SW: 4 | 1 | Set Scene 1 | DAY | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | [5 empty] | 80 | 80 | 80 | 80 |  | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80
FourButton |  | Addr: 16 | 2
|  |  | 3 | Set Scene 2 | EVENING | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | [5 empty] | 30 | 30 | 30 | 30 |  | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
Entrance |  | IOMap: 0 | 4 | Toggle Scene 3 | MASTER ON/OFF | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | [5 empty] | 100/0 | 100/0 | 100/0 | 100/0 |  | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0
5
|  |  | 6 |  | DND
CONNECT |  | SW: 1 | 1
OneButton |  | Addr: 43 | 2 | Toggle Scene 10 | MASTER ON/OFF | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | [5 empty] | 100/0 | 100/0 | 100/0 | 100/0 |  | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0
3
Bethroom |  | IOMap: 43 | 4
5
6
CONNECT |  | SW: 1 | 1
OneButton |  | Addr: 44 | 2 | Toggle Scene 10 | MASTER ON/OFF | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | [5 empty] | 100/0 | 100/0 | 100/0 | 100/0 |  | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 | 100/0
3
Bethroom |  | IOMap: 44 | 4
5
6
BATHROOM |  | SW: 1 | 1 | Set Scene 5 | TOILET DAY | [10 empty] | 80 | 80 | [6 empty] | 80 | [10 empty] | 80
ThreeButton |  | Addr: 19 | 2
|  |  | 3 | Set Scene 6 | TOILET NIGHT | [10 empty] | 30 | 30 | [6 empty] | 30 | [10 empty] | 30
Bethroom |  | IOMap: 13 | 4
5
|  |  | 6 | Toggle Scene 7 | MASTER ON/OFF TOILET | [10 empty] | 100/0 | 100/0 | [6 empty] | 100/0 | [10 empty] | 100/0
CONNECT |  | SW: 1 | 1
OneButton |  | Addr: 45 | 2 | Toggle Scene 12 | MASTER ON/OFF | [9 empty] | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 |  |  |  |  | 100/0 | [10 empty] | 100/0
3
Bethroom |  | IOMap: 45 | 4
5
6
CONNECT |  | SW: 1 | 1
OneButton |  | Addr: 46 | 2 | Toggle Scene 12 | MASTER ON/OFF | [9 empty] | 100/0 | 100/0 | 100/0 | 100/0 | 100/0 |  |  |  |  | 100/0 | [10 empty] | 100/0
3
Bethroom |  | IOMap: 46 | 4
5
6
CONNECT |  | SW: 1 | 1
OneButton |  | Addr: 47 | 2 | Toggle Scene 11 | MASTER ON/OFF | [12 empty] | 100/0 | 100/0
Kitchen |  |  | 3
Bethroom |  | IOMap: 47 | 4
5
6